## General summary
STRUCTURAL, ARCHITECTURAL WORKS
Index
Total Amount
| Division 1 | General requirements | 0
| Division 2 | Siteworks | 0
| Division 4 | Masonry works | 0
| Division 6 | Wood and Plastics | 0
| Division 7 | Thermal and moisture protection | 0
| Division 8 | Doors and windows | 0
| Division 9 | Finishes | 0
| Division 10 | Specialties | 0
| Division 13 | Special construction | 0
| Division 15 | Mechanical | 0
| Division 16 | Electrical | 0
TOTAL |  |  | 0
11% VAT |  |  | 0
GRAND TOTAL |  |  | 0

## DIV 01
DIVISION 01
GENERAL REQUIREMENTS
Item | Description | Unit | Qty | Unit | Amount
|  |  |  | Rate | US$
GENERALLY
Tenderers are to comply exactly with the pricing requirement of preliminaries, as presented hereafter
A | These preliminaries are applicable to the whole of the works. If the tenderer wishes to price any of the items contained herein, then each such item, clause or sub clause must be individually priced. The tendered shall not enter any lump sums covering more than one or all items, clauses and sub-clause. Where any item, clause or sub clause is not priced, it shall be deemed that the value is included in the rates for measured items elsewhere in these Schedule of Rates.
B | Tenderer will deemed to have examined the Drawings, the Specifications, to have read the Instructions to Tenderers, the Form of Agreement, the Conditions of Contract, the Form of Tender and to have visited the site and made themselves aware of all conditions including the supply of labor and materials, and are to allow in their tender for all costs, expenses, risks, liabilities and obligations set forth in or implied by the documents and drawings, and their tender price shall be deemed to include for supplying, installing, constructing, completing and maintaining the works in accordance with the terms of the Contract.
DESCRIPTIONS
C | The descriptions included in these Schedule of Rates to describe the workmanship and materials necessary for each items are not necessarily complete. The Tenderer is referred to the Conditions of Contract, Technical Specifications, other Documents and the Drawings, for further information concerning the work. No claim or variation will be considered on account of his failure to acquaint himself with such information.
DESCRIPTIONS (CONT'D)
A | The tenderer shall satisfy himself as to the meaning of every item in the Schedule of Rates and the prices inserted by him will be deemed to cover all his obligations under the Contract and all matters and things necessary for the proper construction, completion and remedying of any defects including, but not by way of limitation, for all temporary works required (including any that may be required by sub-contractors, whether nominated or otherwise).
The price shall include for all materials, furniture, fixtures and labor and for the provision and use of all plants (whether mechanical or non-mechanical ) required for the
expeditious carrying out of the works in their proper sequence, including for shifting, altering and adapting such temporary work and plant as may be required during the progress of the works, and removing on completion and making good any surfaces disturbed; and if not included in a price inserted against the Conditions of Contract clause following, for the guarantees and bonds required for the costs of preparing a tender, for the work in connection with measurements and final account, for profit, and for all establishment charges and on costs of whatever nature. No claim for additional payment will be allowed for any error or misunderstanding by the Tenderer in these aspects.
B | The tenderer shall price all items for all sections which he considers have a value. If any item are not proceed by the Tenderer, they will be deemed to be of no value or that their value has been spread throughout the rates of the other items.
CONDITIONS OF CONTRACT
C | The conditions of contract shall be as contained within the Tender Documents. The tenderer shall allow for all costs of complying with the Conditions of Contract.
SCHEDULE OF RATES
A | The rates for all work are to include for all cutting (straight, raking or curved) as necessary
B | Earthworks is to include for earthwork support and dewatering
C | Earthworks shall include for excavating in rock, unstable ground, existing Note materials and obstructions, cavity probing, below water level or any other condition
D | Earthworks shall include for the levelling and compacting bottoms and for Note keeping excavations free from water and treating the surface with anti-termite control
E | Filling shall include for campacting in layers and grading to contours
F | Concrete work shall include for all formworks
G | Concrete work shall include for all fair faced finish formwork
H | Reinforced concrete work shall include for all reinforcement
I | Masonry work is to include for faced or fair faced work as necessary
GENERAL REQUIREMENTS
A | Coordination & Management: Project coordination, meetings, scheduling, interfacing with all trades and stakeholders. | LS | 1 |  | 0
B | Submittals & Documentation: Material submittals, method statements, reports, progress report, etc. | LS | 1 |  | 0
C | Shopdrawings, detailed drawings, calculation notes (where required), etc. | LS | 1 |  | 0
D | Testing, Commissioning & Handover: All required execution and completion testing including soil, concrete, material and MEP tests, commissioning of all systems, cleaning, O&M manuals, warranties, authority approvals, and contract closeout. | LS | 1 |  | 0
E | As-built drawings: Preparation and submission of complete final as-built drawings for all disciplines, including all revisions required to reflect actual site conditions and executed works, in approved hard copy and digital formats. | LS | 1 |  | 0
F | Insurance: The rate shall include the cost of providing all required insurances in accordance with the Contract Documents in general, Bid Conditions and Procedures, and Conditions of Contract in particular | LS | 1 |  | 0
G | Incidental & Unmeasured Works: Any works, materials, or obligations not separately measured but required for completion in accordance with the Tender Documents. | LS | 1 |  | 0
|  |  | To Collection $ |  | 0
|  | Page No. 2 |  |  | 0
DIVISION 01 - GENERAL REQUIREMENTS
| Carried to Summary |  |  | US$ | 0

## Div 2
DIVISION 2 - SITEWORK
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
The contractor is referred to the specifications and drawings for all details related to this section of the works and he is to include for complying with all the requirements contained therein, whether or not they are specifically mentioned whithin the items description.
The contractor shall provide all equipments, workmanship, and execute the required works to the satisfaction of the Supervisor. Contractor shall protect all parts of the site to remain intact during siteworks, demolition and disposal of debris and shall ensure minimal noise and dust levels through approved protective measures. Contractor shall ensure safety of occupants, workers, third parties, etc. during all works. Contractor shall submit engineered demolition method statement for Supervisor Approval.
DEMOLITION (02060)
Engineered demolition of masonry and concrete wall parts. Remove the demolished materials to approved dumps as directed by the Engineer. Propping where necessary and careful removal of the existing tiling, wood doors, steel items, all kinds of piping and wiring and preparing surface to receive finishes/concrete as directed by the Supervisor. All removed materials, steel, ACs, equipments, sanitary fixtures, electrical fixtures, etc. belong to the center
A | Demolition, dismantling and removal of block walls as shown on drawings A-102 | 102 | m² |  | 0
B | Demolition and removal of 60x60 cm false ceiling in corridors, offices and kitchen at new conference room side | 30 | m² |  | 0
C | Demolition and removal of existing concrete attic in 2 Wcs and corridor | 10 | m² |  | 0
D | Dismantling and disposal of existing old sanitary pipes and fixtures in ceiling and walls, in kitchen and Wcs | 1 | ls |  | 0
E | Demolition, dismantling and disposal of floor and walls tiling and any unuseable substrate/fill in Wcs | 16 | m² |  | 0
F | Dismantling and removal of old electrical pipes and cables, electrical fixtures, in all rooms, kitchen and Wcs | 1 | ls |  | 0
G | Removal of existing AC units and compressors | 4 | ls |  | 0
H | Removal of existing AC ducting in all corridors and rooms, AC machines and all related parts and grills | 1 | ls |  | 0
I | Removal of existing wood and steel doors | 10 | ls |  | 0
J | Removal of existing curtains in offices | 1 | ls |  | 0
K | Demolition and removal of existing granite top and sink in kitchen, including wood cabinets | 1 | ls |  | 0
L | Demolition and removal of existing walls tiling in kitchen, including all sanitary pipes and fixtures | 1 | ls |  | 0
M | Removal of existing steel handrail separation at balcony | 1 | ls |  | 0
N | Removal and dismantling of existing tiles in all rooms and kitchen | 150 | m² |  | 0
O | Removal and dismantling of existing aluminum doors at the 2 offices from kitchen side for replacement | 1 | ls |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 2 - SITEWORK
| Carried to Summary |  |  | US$ | 0

## Div 4
DIVISION 4 - MASONRY
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
UNIT MASONRY ASSEMBLIES (04810)
Precast concrete lightweight hollow blocks, bedded and jointed in cement and sand mortar, including expanded metal lath, galvanized steel angle ties and reinforcing bars; as shown on drawings A-102, including lintel (Including any necessary preparatory work for existing surfaces). Hollow Load-Bearing Concrete Masonry Units (CMU): ASTM C90, Type I - Moisture Controlled and/or Type II - Non-moisture Controlled; light weight.
A | 100mm thick walls at kitchen and WC | 14 | m² |  | 0
B | 100mm thick walls at translation rooms, under aluminum windows, 90 cm height from F.F.L | 5 | m² |  | 0
C | 200mm thick walls, to close the door opening in office/Library | 5 | m² |  | 0
D | 200mm thick walls, to close the door opening in Wc | 3 | m² |  | 0
E | 200mm thick walls, to close the window opening and above door in kitchen | 3 | m² |  | 0
F | 200mm thick walls, to exterior parapet at balcony, at conference room side | 10 | m² |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 4 - MASONRY
| Carried to Summary |  |  | US$ | 0

## Div 6
DIVISION 6 - WOOD AND PLASTICS
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
CUSTOM CABINETS (06410)
The contractor shall provide all equipments, workmanship, and execute the required works to the satisfaction of the Engineer.
Wood closets fabricated from 18 mm water-resistant high-pressure laminate (HPL) boards with 1.3 mm PVC edge banding to all exposed edges, including doors, partitions and shelves; back panels in laminated boards; complete with lipping, drawers, rails, hanging rods, supports, base, closet hardware and all necessary accessories, as specified, as per schedules and as detailed on drawings.
Detailed drawings to be submitted and approved by the consultant before execution
A | Cabinet C01, Overall 2500 mm long x 900 mm wide x 600 mm Depth, in kitchen (under granite counter) | 1 | Nb |  | 0
B | Cabinet C02, Overall 1500 mm long x 1100 mm wide x 350 mm Depth, in kitchen (above granite counter) | 1 | Nb |  | 0
C | Cabinet C03, Overall 800 mm long x 2700 mm wide x 900 mm Depth, FOR SERVER ROOM | 1 | Nb |  | 0
SECTION 06415 - COUNTERTOPS
Supply and install granite countertop as per drawings
A | Granite counter top "NERO ASSOLUTO OR SIMILAR" in kitchen, as shown on drawings, 2cm thickness, including sink, installation, overall dim. 2500x600mm | 2.5 | lm |  | 0
B | Granite backsplash "NERO ASSOLUTO OR SIMILAR" in kitchen, as shown on drawings, 2cm thickness, installation, overall dim. 2500x600mm | 2.5 | lm |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 6 - WOOD AND PLASTICS
| Carried to Summary |  |  | US$ | 0

## Div 7
DIVISION 7 - THERMAL AND MOISTURE PROTECTION
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
COLD FLUID-APPLIED WATERPROOFING (07140)
Apply single-component, polyurethane waterproof coating anti-root (white color), 1.5Kg/m2,UV resistance, including surface preparation, primer compatible with PU waterproof, geotextile protection in WCs & reinforcement scrim at edges and special details; as specified and as shown on drawings. (screed in other section). Fluid, cold applied and quick setting elastomeric membrane waterproofing and surface dusting and protective covering. ASTM D412, ASTM D624, and ASTM D429. This section includes 5 years of warranty on all waterproofing works
A | To floors in wet areas - WCs and showers (including geotextile) | 5 | m² |  | 0
B | To perimeter of ditto, average 250mm high | 15 | l.m |  | 0
MINERAL WOOL INSULATION (072100)
Supply and install mineral wool (stonewool) pipe insulation sections, non-hygroscopic and water-repellent, including aluminum foil facing, binding wires, fixing accessories and all necessary supports,
Insulation to provide thermal, acoustic and fire protection to pipes inside shafts, include insulation of fittings, bends, valves, and all accessories Fire resistance, sound absorption and sound reduction Density- kg/m3: 75
A | To all pipes inside both shafts in conference rooms | 24 | l.m |  | 0
CELENIT WOOD WOOL BOARD
Supply, Install and finish Thermal and acoustic insulation board, Monolayer sound absorbing panels, in Euroclass B-s1, d0 made of mineralized wood wool bound with white or grey Portland cement and mineral powder. Wood wool is 3 mm wide. material and finish including backing and supporting frames and accessories; as specified and shown on drawings Complies with EN 13168 standard. The boards are certified by ANAB-ICEA and natureplus for eco-compatibility of materials and manufacturing process. CELENIT N is PEFC™ certified. Also available with FSC® certification.
Install the CELENIT TYPE N boards, Thermal and acoustic insulation board, to cement boards in translation rooms as shown on drawing A-102
A | Monolayer sound absorbing panels, 200x60x2.5 cm, to walls and ceiling in translation rooms, full wall height | 8 | m² |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 7 - THERMAL AND MOISTURE PROTECTION
| Carried to Summary |  |  | US$ | 0

## Div 8
DIVISION 8 - DOORS AND WINDOWS
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
WOOD DOORS (08210)
Wood doors, panel 50mm thick, including Frake solid wooden frame & subframe with walnut veneer OR oak veneer, Frake solid wooden architrave with walnut veneer, 50mm wooden leaf composed by 34mm tubular core, 8mm MDF with walnut veneer from both sides, SS handle, shop spray painting, installation of door hardware and all necessary fixing accessories and door hardware; as specified and as per schedules and details on drawings A-103 & A-601
A | DW01, overall size 950 mm wide x 2200 mm high, net opening 850 mm wide x 2200 mm high, single leaf door, as shown on drawing A-103 & A-601 | 2 | nb |  | 0
B | DWN03, overall size 1250 mm wide x 2200 mm high, net opening 1150 mm wide x 2200 mm high, single leaf door, as shown on drawing A-103 (Corridor to conference rooms) | 1 | nb |  | 0
Wood doors, panel 50 mm thick, including hard wood, solid wooden frame & subframe, solid wooden architrave, 50 mm wooden leaf composed of 34 mm tubular core, with HPL 8 mm thickness (High-Pressure Laminate) from both sides (color to be choosen), frame brush oil-based painting, SS handle, installation of door hardware and all necessary fixing accessories, as specified and as per schedules and details on drawings A-103 and A-601; -HPL finish: smooth and easy clean surface; - All edges sealed with hardwood lipping, 10 mm thick, concealed or exposed depending on design and sample; -Frame: hardwood frame and architrave, oil based painting; -SS hardware and hinges
A | DW02, overall size 850 mm wide x 2200 mm high, net opening 750 mm wide x 2200 mm high, single leaf door, in kitchen, 2 Wcs, as shown on drawing A-103 & A-601 | 3 | nb |  | 0
B | Wood shaft access trap, overall size 400x600 mm, single leaf window | 2 | nb |  | 0
Wood Door Refurbishment (08210)
Complete refurbishment of existing wood doors ,as shown on drawings A-102, including part replacement, leveling and accessories, door hardware, doors handles, removal 1cm from bottom for tiling addition (where needed) and site brush painting OR Factory painting as per door condition, to render the door fully operational
D | Existing wood doors DW03, overall size 1250 mm wide x 2200 mm high, net opening 1150 mm wide x 2200 mm high, single leaf door, as shown on drawing A-103 | 3 | nb |  | 0
|  |  | To Collection US$ |  | 0
ALUMINUM WORKS (08520)
Anodized satinated aluminum doors and windows, complete including frames, sub-frames, protruded members, angles, mullions, channels, glass thickness to be verified by Contractor according to structural, seismic and wind loads, rubber strips, mastic pointing, hardware, cover joints where required and all necessary fixing accessories; as specified, as shown on drawings and as per schedules Aluminum Doors/Windows: Fabricate window assemblies in accordance with AAMA 101 for types of windows required and equivalent for doors. Insulated Glass: Fabricate insulated glass units in accordance with GANA (formerly FGMA) Glazing Manual. Safety Glass: Conform to ANSI Z97.1 and applicable codes. Extruded Aluminum: ASTM B221M; 6063 alloy, T5 temper. Sheet Aluminum: ASTM B209M; 5005 alloy, H15 or H34 temper. Fasteners, Anchors and Rollers SS 316. Finish Coatings: Conform to AAMA 2603, AAMA 2604 or 2605 and/or AAMA 611.
A | DA-01, sliding aluminum door, 6 mm/6mm/6mm tempered double glass, overall dim. 1300x3100 mm, including fixed part as shown on drawing and schedule of windows A-602, in translation room 1 & 2 | 2 | Nb |  | 0
B | DA-02, aluminum hinged door, overall size L.800 x H. 2200 mm, in kitchen, as shown on drawing | 1 | Nb |  | 0
C | DA-03, Aluminum hinged door, sand blast glass door, overall size L.1300 x H.2200 mm, including fixed part jambs, all necessary hardware and accessories, as shown on drawing A-602 | 1 | Nb |  | 0
D | DA-04, Aluminum fixed glass, overall size L.500 x H.3100 mm, including all necessary hardware and accessories, as shown on drawing A-602 | 2 | Nb |  | 0
E | DA-07, aluminum folding partition wall, made from high density aluminum frame, special made rubber, excellent sound insulation, 8 mm/8mm/8mm tempered double glass, including aluminum tracks and profile, aluminum door 80x250 cm when panels are closed, overall dim. 8500x3100 mm, each panel 800x2800 mm, fixed part 8500x400 mm, as shown on drawing and schedule of windows A-603, chanel to be embedded in floor. Partition height may be adjusted based on the aluminum profile and to ensure adequate stability | 1 | Nb |  | 0
F | WA-01, Aluminum fixed glass, overall size L.1600 x H.2100 mm, 6 mm/6mm/6mm tempered double glass, including all necessary hardware and accessories | 2 | Nb |  | 0
G | WA-02, Aluminum fixed glass, overall size L.1200 x H.2100 mm, 6 mm/6mm/6mm tempered double glass, including all necessary hardware and accessories | 1 | Nb |  | 0
H | WA-03, Aluminum fixed glass, overall size L.600 x H.2100 mm, 6 mm/6mm/6mm tempered double glass, including all necessary hardware and accessories | 1 | Nb |  | 0
I | WA-04, sliding aluminum window glass, 6 mm/6mm/6mm tempered double glass, overall size L.1800 x H. 2500 mm, to be installed at balconies at parapet, fixed parts and sliding parts as shown on drawings, including rubber strips, mastic pointing, hardware, cover joints where required and all necessary fixing accessories; | 3 | Nb |  | 0
ALUMINUM Door and Windows Refurbishment (08520)
Complete refurbishment of existing aluminum doors ,as shown on drawing A-102, including part replacement, leveling and accessories, door and window hardware to render the door and the windows fully operational
D | Existing aluminum door, DA05, overall size 3250 mm wide x 3100 mm high, sliding door | 5 | Nb |  | 0
E | Existing aluminum door, DA06, overall size 1300 mm wide x 2200 mm high, sliding door | 1 | Nb |  | 0
F | Existing steel window, WS01, overall size 1000 mm wide x 600 mm high, steel hinged window | 1 | Nb |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/3 |  |  | 0
|  | Page No. 3/3 |  |  | 0
DIVISION 8 - DOORS AND WINDOWS
| Carried to Summary |  |  | US$ | 0

## Div 9
DIVISION 9 - FINISHES
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
SUSPENDED CEILING SYSTEM (09130)
15.9mm thick gypsum board suspended ceiling, including suspension system and all necessary fixing accessories, including two access traps 40x40cm (where needed); as specified and per schedule of finishes (painting measured separately) and as shown on drawing AF102 . Acoustic tiles of size, color, finish, pattern and texture as shown in drawings or as instructed by Supervisor, manufactured by an approved manufacturer. The suspension system shall consist of angle hangers or suspension wires, primary suspension channels and main runners, with all necessary clips. The main runners shall be of the split ‘T’ type to give a fully concealed fixing system. Suspension systems shall generally be of hot dip galvanized steel members comprising all hangers, runners, trimmers, bearers, clips, tie wires, bolts and screws necessary to install the ceilings rigidly and to a true and level finish. The use of timber is to be avoided. Finish coating color shall be as instructed by Supervisor. In places of particularly high humidity (80 deg. humidity), the members of the suspension system shall be aluminum alloy instead of steel. Tying Wire: All tying wire shall be galvanized soft wire confirming with BS 443 or equivalent and shall be 1.2mm (for securing expanded metal) and 3mm (for securing ceiling runners to bearer channel.
A | Gypsum board Suspended Ceiling in conference rooms and library at fifth floor as shown on drawing A-703, including bulkhead for curtains | 75 | m² |  | 0
B | Vertical bulkhead at perimeters and for indirect lighting, in conference rooms at fifth floor as shown on drawing A-703 | 40 | lm |  | 0
C | Vertical and horizontal bulkhead at perimeters in corridor at main entrance, W. 40 mm x H. 40 mm, to close the existing cables and pipes, including two access traps for maintenance | 10 | lm |  | 0
Suspended Ceiling system, 60X60 Gypsum Ceiling Tiles, made of high-quality paper-faced gypsum board, including installation, suspension system and all necessary fixing accessories; as specified, per schedule of finishes and as shown on drawings EL102 and AF103, all specification are as above.
A | Suspended Ceiling, GYPSUM ceiling tiles 60x60 cm, in kitchen and related sas at conference rooms side | 20 | m² |  | 0
Suspended Ceiling system, PVC panel 20xLcm, including installation, suspension system and all necessary fixing accessories; as specified, per schedule of finishes and as shown on drawingsA-703 & A-704, Except for PVC panels, all specification are as above.
A | Suspended Ceiling, PVC panels, in WCs | 5 | m² |  | 0
PORTLAND CEMENT PLASTER (09220)
Cement and sand internal plastering 15mm thick, including lath, plaster stops and all necessary accessories; as specified and as per schedule of finishes in drawing (Including any necessary preparatory work for substrate). Perform Work in accordance with ASTM C926 and PCA Portland Cement Plaster (Stucco) Manual. Cement: ASTM C150, Type I Portland cement. Bonding Agent: ASTM C932; type recommended for bonding plaster to concrete and concrete masonry surfaces. Fibers: 13 mm nominal length glass fibers meeting requirements of ASTM C1116.
A | To internal walls and columns, including the new parapet at conference room balcony | 83 | m² |  | 0
B | To internal walls and columns in WCs | 34 | m² |  | 0
C | Plater repair to internal ceiling/walls where needed after electrical cabling, cracks repair where needed | 1 | lp |  | 0
|  |  | To Collection US$ |  | 0
TILE (09300)
Ceramic tiles fixed to plaster with adhesive, or fixed to floor tiles or floor concrete including grouting and pointing (as per site requirements); as specified, as per schedule of finishes and as shown on drawings. Perform Work in accordance with TCA Handbook and ANSI A108 Series/A118 Series. Supply 3.5 Sq. meters (or two boxes, whichever is higher) of each type of tile furnished (excluding treads and risers). Ceramic and Mosaic Tile: ANSI A137.1, and conforming to the following: 1. Moisture Absorption: 0 to 0.5 percent. 2. Size: As indicated on drawings. 3. Shape: Square and/or Rectangular, as indicated on drawings. 4. Edge: Square and/or Cushioned, as indicated on drawings. 5. Surface Finish: Unglazed, Matte glazed, Mottle glazed, and/or Slip resistant, as indicated on drawings. 6. Color: As selected by Supervisor. 7. Mounted Sheet Size: As indicated on drawings.
Ceramic Wall Tile: ANSI A137.1, and conforming to the following: 1. Moisture Absorption: 0 to 0.5 percent. 2. Size: As indicated on drawings. 3. Shape: Square and/or Rectangular, as indicated on drawings. 4. Edge: Square and/or Cushioned, as indicated on drawings. 5. Surface Finish: Unglazed, Matte glazed, and/or Mottle glazed, as indicated on drawings. 6. Color: As selected by Supervisor. 7. Pattern: As indicated on drawings.
A | Mass ceramic or Gres Ceram to floors, 60x60 cm, to be fixed to existing tiles, in conference rooms and corridors, library, in translation rooms, kitchen, excluding balconies | 155 | m² |  | 0
B | Ditto, to skirting 8 cm high | 61 | l.m. |  | 0
C | Anti slippery European heavy duty ceramic to floors, 30x60 cm in WCs | 6 | m² |  | 0
D | Mass ceramic or Gres Ceram to walls, 30x60 cm in WCs | 28 | m² |  | 0
K | Thresholds in various widths, minimum 30mm. Stone floor tiles including cement and sand mortar, finish as indicated and grouting; as specified and per schedule of finishes and as shown on drawings. | 5 | l.m. |  | 0
PAINTS AND COATING (09900)
Prepare and apply 1 coat of primer sealer (latex or alkyd), 2 coats of washable latex or alkyd as specified and as shown on drawings (Including any necessary preparatory work for substrate)
A | To internal walls and columns in all rooms, sas & kitchen, including the new parapet at balcony and all external columns, at conference rooms side | 211 | m² |  | 0
B | To internal gypsum false ceiling in conference rooms and all concrete ceilings in rooms and balconies, at conference rooms side, including gypsum board vertical bulkhead | 150 | m² |  | 0
Prepare and apply 1 coat of primer sealer (latex or alkyd), 2 coats of washable latex or alkyd as specified and as shown on drawings (Including any necessary preparatory work for substrate)
A | To internal walls and columns in exterior corridor at main entrance | 36 | m² |  | 0
B | To internal gypsum false ceiling in exterior corridor at main entrance and concrete ceilings | 35 | m² |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/2 |  |  | 0
|  | Page No. 2/2 |  |  | 0
DIVISION 9 - FINISHES
| Carried to Summary |  |  | US$ | 0

## Div 10
DIVISION 10 - SPECIALTIES
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
SIGNAGE (10440)
A | Supply & Apply signage, Aluminum plates with beveled edges and vinyl cover text, chrome mounting accessories; design and manufacturing to be approved by Supervisor. Dim. 30x10 cm, for all rooms | 8 | Nb. |  | 0
FIRE EXTINGUISHER (10522)
Portable Hand-held Fire Extinguisher fully supplied and installed. 6Kg nominal capacity, compatible with gas and electric based fires in manufacturer's standard enameled container.
A | Portable dry powder fire extinguisher 6 Kg capacity fixed to wall | 2 | Nb. |  | 0
B | CO2 portable fire extinguisher 5 Kg capacity fixed to wall | 2 | Nb. |  | 0
TOILET, BATH AND LAUNDRY ACCESSORIES (10800)
Toilet and bath accessories, including all necessary fixing accessories; as specified and as per schedules. All support hinges, hooks, bars and rings shall be made of SS 316.
A | Soap holder | 2 | Nb |  | 0
B | Paper holder | 2 | Nb |  | 0
C | Toilet Paper holder | 2 | Nb |  | 0
D | Toilet brush with holder | 2 | Nb |  | 0
E | Plastic garbage bins Diam. 30 x H.40 cm | 2 | Nb |  | 0
G | MIRRORS (10800)
6mm thick polished plate glass mirror with 30 mm wood frame fixed to wall, including supports and all necessary accessories; as specified
A | Mirror overall dim. 650x650 mm in WC | 2 | Nb |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 10 - SPECIALTIES
| Carried to Summary |  |  | US$ | 0

## Div 13
DIVISION 13 - SPECIAL CONSTRUCTION
Item | Description | Qty | Unit | Material | Labor | Equip. | Sub. | Raw Cost | OH & Profit | Unit Rate US$ | Amount US$
VIDEO SURVEILLANCE (13700)
Supply, install and test the following equipments, PC, display screen, etc. TV sets, etc. supplied and installed by a specialized subcontractor (minimum 10 years of experience) and using products (ISO 9001 certified) as specified below and as shown in drawings EJ103
A | Smart TV 85" in big conference room: ISO 9001 certified product; wall-hung type complete with assembly; Digital slim TV, High Definition, 4K-U Led, ultra HD, minimum 1080p resolution; 99 programmable channels; Auto search and programming; analog tuner; Minimum 2 HDMI ports and 2 USB ports; 1 ethernet; 1 Composite In; 1 Audio out; 1 Component In; RF In (Terrestrial/Cable Input); Dolby Digital Plus sound system as a minimum; Integrated Internet connectivity; Accessories: 2 HDMI cables, surge protector, Warranty: 3-year, on-site, parts and labor. (Hisense, LG, Samsung, or equivalent) | 1 | Nb | [7 empty] | 0
B | Smart TV 65" in big conference room: ISO 9001 certified product; wall-hung type complete with assembly; Digital slim TV, High Definition, 4K-U Led, ultra HD, minimum 1080p resolution; 99 programmable channels; Auto search and programming; analog tuner; Minimum 2 HDMI ports and 2 USB ports; 1 ethernet; 1 Composite In; 1 Audio out; 1 Component In; RF In (Terrestrial/Cable Input); Dolby Digital Plus sound system as a minimum; Integrated Internet connectivity; Accessories: 2 HDMI cables, surge protector, Warranty: 3-year, on-site, parts and labor. (Hisense, LG, Samsung, or equivalent) | 2 | Nb | [7 empty] | 0
C | Conference Phone: Bluetooth, 4" touch screen with color display; Full duplex HD audio quality; 7-microphone array with integrated echo cancellation; 360° speech reception within a radius of 6 meters; Connectivity: RJ45, USB-C, Wi-Fi and Bluetooth; TV connection for video streaming; Automatic compensation of acoustic echoes; Compatible with all phones and networks in the market (Jabra, Logitech, Vtech, AT&T or equivalent) | 1 | Nb | [7 empty] | 0
D | Rearrangement and proper organization of existing cabinet cables and patch panel, in kitchen | 1 | lp | [7 empty] | 0
|  |  | To Collection US$ | [7 empty] | 0
COLLECTION
|  | Page No. 1/1 | [8 empty] | 0
DIVISION 13 - SPECIAL CONSTRUCTION
| Carried to Summary | [8 empty] | US$ | 0

## Div 15 MECHANICAL
DIVISION 15 - MECHANICAL
Item | Description |  | Unit | Unit Rate US$ | Amount US$
PIPES AND FITTINGS (15060, 15110)
Supply, lay, connect and test the following cold, hot, hot return and potable water pipes including all necessary fixing accessories and fittings complete as specified and shown on drawings A-401, dimensions and quantities as per site measurements
Install and connect to existing pipes for water supply in toilets. All pipes, hot and cold, to be embedded in walls
A | Connect to existing water supply pipes in toilets and Kitchen | 1 | l.s |  | 0
DRAINAGE AND VENT SYSTEMS (15420)
Supply, lay, connect and test the following pipework including all necessary fixing accessories and fittings complete as specified and shown on drawings A-401, dimensions and quantities as per site measurements
Non pressure UPVC pipes according to ASTM D2665
A | 2" diameter | 4 | l.s |  | 0
B | 4" diameter | 5 | l.s |  | 0
Supply, install and test drainage installations including fixing accessories and fittings, complete as specified and shown on drawings A-401. PVC drainage pipes shall be of unplasticized polyvinyl chloride with solvent cemented socket joints and complying with NFT54.028 (EN 1329) for pipes inside the toilets and with rubber ring sealed socket joints and complying with DIN 19534 (EN 1401) for pipes outside the toilets.
A | 3" diameter floor drain, in WCs and kitchen | 3 | Nb. |  | 0
B | 4" diameter junction box | 3 | Nb. |  | 0
PLUMBING FIXTURES (15440)
Supply, Install, connect and test the following sanitary fixtures complete with fittings main supply and accessories as specified and shown on drawings A-401, (Duravit, Armitage Shank, Kohler, Ideal Standard, lecico or approved equivalent)
A | Floor Mounted Water Closets : Vitreous china wash down water closet with close coupled cistern having button operated siphon fully installed (Single-flush tank-type gravity type). Supports and all pipe works and accessories required for installation, connection to water supply and drainage, supports, fixing for satisfactory operation. Toilet seat cover color to match the toilet and Closet. Chromium plated angle valve with clamp ring union and extension piece., in all toilets | 2 | Nb. |  | 0
B | Lavatories: Vitreous china wash hand basin with concealed fixing brackets and leg, rectangular washbasin, Length. 50cm, including waterproof wood cabinet, fixed to wall, in director toilet, and the new toilets | 2 | Nb. |  | 0
D | Mixers chrome hot/cold water, with single switch lever fully installed and operational, in new toilets and new kitchen | 3 | Nb. |  | 0
|  |  | To Collection US$ |  | 0
SPLIT UNIT (15660)
Supply, Install and Test the Following: Air-conditioning INVERTER TYPE Split Units inclusive of Condensing units, Evaporator Blower, Control and power cables, thermostat, Refrigerant Copper pipes and insulation, condensate drain work, support bracket with anti-vibration pads, etc. complete with all components and accessories, supports as Specified in accordance with ASHRAE Standard 15 "Safety Code for Mechanical Refrigeration" inclusive of 3 year warranty on site, parts and labor. Pre-approved manufacturers include LG (Korea), Gree (China), MDV (China) or equivalent.
Complete installation of split units as shown on drawings MA-103 (Drainage to be connected to existing floor drain , copper routing to the balcony and to be checked on site)
A | Wall Type - 9000 Btu (5 m copper pipes length) | 0 | Nb. |  | 0
A | Wall Type - 12000 Btu (5 m copper pipes length) | 1 | Nb. |  | 0
B | Concealed Type - 36000 Btu (10m copper pipes length) | 3 | Nb. |  | 0
C | DN20mm PVC pressure pipe to act as condensate drain | 35 | lm |  | 0
DIFFUSERS, REGISTERS AND GRILLES (15855)
Grills & Diffusers Complete with plenum boxes as per drawings
Supply and Return Air Linear Bar Grill, 15 deg. deflection, small frame
A | 3000x100mm | 4 | Nb. |  | 0
B | 3500x100mm | 2 | Nb. |  | 0
C | 5600x100 | 1 | Nb. |  | 0
Flow bar Diffuser, 1 Slot, 1.5" Width
A | L=5000mm | 1 | Nb. |  | 0
B | L=300mm | 2 | Nb. |  | 0
FANS (15865)
Supply, Install and Test the Following Fans, Including Flanges, Support Framing, Mounting Bolts, Controls, Sound Attenuators (if Required) and all Necessary Fixing Accessories and Connection as Specified and as Shown on Drawings. Pre-approved manufacturers include Nicotra (Spain), Greenheck (USA) or equivalent.
A | Toilet / Elec. room propeller wall fan with all accessories, 20 L/s @ 30 Pa | 3 | Nb. |  | 0
B | 4" PVC duct with all needed accessories and elbows | 8 | lm |  | 0
METAL DUCTS (15891)
Supply and Install supply and return air duct according to SMACNA including duct supports, hangers and all what is necessary for work completion as per mechanical drawings MA-103 and details
A | Galvanized steel ductwork | 400 | kg |  | 0
B | Duct insulation | 70 | m2 |  | 0
C | Duct Foam Internal Insulation for Galvanized Duct | 45 | m2 |  | 0
D | Flexible Duct Diam 150 +Volume Damper | 3 | lm |  | 0
E | Flexible Duct Diam 200 | 14 | lm |  | 0
F | Volume Dampe Diam 200 | 14 | lm |  | 0
Plenum Box including duct liner insulation, neck, connections and all needed accessories:
A | 300x250x200 | 2 | U |  | 0
B | 500x250x200 | 1 | U |  | 0
C | 1300x250x200 | 1 | U |  | 0
D | 1500x250x200 | 1 | U |  | 0
E | 2000x250x200 | 4 | U |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/2 |  |  | 0
|  | Page No. 2/2 |  |  | 0
DIVISION 15 - MECHANICAL
| Carried to Summary |  |  | US$ | 0

## Div 16 electrical
DIVISION 16 - ELECTRICAL
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
WIRING DEVICES (16140)
Supply, install and connect the following wiring devices, complete including wiring/conduiting works back to respective panelboards and all related accessories, as specified and shown on drawings. Pre-approved manufacturers include Tcino (Italy), Gewiss (Italy), or Legrand (France) or equivalent.
All exposed conduits fixed on columns, ceiling and walls, shall be Rigid High Gauge PVC.
A | Wall mounted one way, one gang light switch, rated 10A/250V- | 15 | Nb. |  | 0
B | Wall mounted double socket outlet (2P+E), rated 16A/250V - | 15 | Nb. |  | 0
C | Wall mounted double socket outlet (2P+E), fed from UPS, rated 16A/250V - | 10 | Nb. |  | 0
D | Wall mounted single socket outlet (2P+E), fed from UPS, rated 16A/250V- | 5 | Nb. |  | 0
E | 1PH Electrical Outlet for inverter split unit with disconnect switch IP64, Aluminum Alloy Enclosure, rated in AC23 - 2x16A - | 1 | Nb. |  | 0
F | 1PH Electrical Outlet for inverter split unit with disconnect switch IP64, Aluminum Alloy Enclosure, rated in AC23 - 2x32A - | 3 | Nb. |  | 0
G | Floor Box - 12Modules, Recessed with Stainless Steel Cover, Waterproof | 2 | Nb. |  | 0
H | 1PH Electrical Outlet for fan, controlled from switch | 3 | Nb. |  | 0
LIGHT POINT
Lighting points materials, supplied, installed, connected complete including conduits, conduit accessories and supports, junction, derivation and outlet boxes, conductors, connectors and all related accessories, as specified and shown on drawings EL-102
A | Ceiling and wall light point | 49 | Nb. |  | 0
|  |  | To Collection US$ |  | 0
PANELBOARD (16442)
Supply, install and connect the following panelboards, complete including surge arresters, protective devices, measuring devices, contactors, auxiliaries and all related accessories, as specified and shown on drawings EL-102. Pre-approved manufacturers include Schneider (France), ABB (Switzerland), Legrand (France), Eaton (USA) or equivalent.
A | DB | 1 | Nb. |  | 0
B | UDB | 1 | Nb. |  | 0
POWER CONDUCTORS AND CABLES (16120)
Supply, install and connect the following multi-core unshielded PVC insulated and PVC sheathed cables (Cu/PVC/PVC 0.6/1KV) including glands, cable termination, grounding wires, cable truncking, cable trays, fixing materials, supports and necessary accessories all as specified and as mentioned on the drawings. Pre-approved manufacturers include Libancable (Lebanon) or equivalent.
Cu/PVC/PVC 0.6/1.0kV Cables
A | 4x16+16mm2 | 25 | lm |  | 0
LIGHTING (16500)
Supply, install and connect the following lighting fixtures, complete including control gear, lamps, supports, mounting, brackets and all related accessories, as specified and shown on drawings EL102. Lighting manufacturers to be of the renowned worldwide, compliant to standards, official manufacturer certifications must be achieved and fixtures to be approved by the Architect.
A | Type A: Recessed 60x60 LED panel, IP22, 40W LED lamp. | 2 | No |  | 0
B | Type B: Suspended aluminum profile complete with LED strip and opal diffuser, dots free and suspension steel wire - 2x12.8W - 4000K.
B.1 | 5lm linear panel lighting | 2 | No |  | 0
B.2 | 4lm linear panel lighting | 2 | No |  | 0
B.3 | 2.5lm linear panel lighting | 2 | No |  | 0
C | Type C: LED Round panel 20cm Lighting fixture, IP22, 18W. | 7 | No |  | 0
D | Type D: Ceiling suspended spotlight, directional, IP22, 11W - 4000K. | 20 | No |  | 0
E | Type D,E: Ceiling suspended spotlight, directional, IP22, 11W - 4000K With built-in battery 1.5hrs autonomy. | 10 | No |  | 0
F | Indirect Lighting Strip LED, 15W/lm - 4000K. | 36 | lm |  | 0
G | Exit light: Self contained Wall/Ceiling mounted exit light, polycarbonate body, cover with silk screen legend, 230v, 5W LED lamp, 3h duration of emergency lighting battery, IP54 | 3 | No |  | 0
H | Self contained wall/ceiling mounted, non-maintained emergency light, 230V 50Hz AC, 220V DC, 5W LED lamp, 3h duration of emergency lighting battery, IP44 | 5 | Nb. |  | 0
TELECOM SYSTEM (SECTION 16730)
Supply, install and connect complete telecom system including conduits, Cat6 cables, RJ45 outlets, pull boxes, cover plate, supports, rigid and flexible medium gauge PVC conduits, patch panels, switches, surge arrestors and all needed accessories as specified and as shown on drawings.
A | Connection to existing telecom network | 1 | No |  | 0
B | Main Distribution Frame including patch panel 2x24 ports, switch including patch cords and all needed accessories | 1 | l.s |  | 0
C | RJ45 Telecom Socket outlet with shutter including CAT6 UTP cable to corresponding Patch Panel | 26 | No |  | 0
D | Wifi Access Point | 2 | No |  | 0
E | HDMI socket outlet including both sides sockets, cables with appropriate converter for extended length, conduits and boxes. | 7 | No |  | 0
F | USB socket outlet including both sides sockets, cables with appropriate converter for extended length, conduits and boxes. | 4 | No |  | 0
G | IP Webcam camera, for conference room : Wide Angle, 16X PTZ Control, Camera HD 1080P Video Conference Camera with Low-Light Correction, Autofocus Video Conference System, HDMI/ USB 1080P Camera for Business Meeting Live Streaming. | 1 | No |  | 0
|  |  | To Collection US$ |  | 0
STATIC UNINTERRUPTIBLE POWER SUPPLY SYSTEM (263353)
Supply, install and connect a 1 phase UPS system, frequency variation: 1% maximum, voltage variation in steady state: 1% maximum, THD: 5%, complete with ventilation, 30 minutes autonomy batteries and all needed accessories to insure the full functionality of the UPS as specified and shown on drawings and to the satisfaction of the Engineer.
A | UPS-6kVA | 1 | No |  | 0
CONFERENCE SYSTEMS / SIMULTANEOUS INTERPRETATION SYSTEM (275116)
Supply, install and connect a complete Conference and simultaneous interpretation sound system including all required audio/video equipment, wires, conduits and boxes as shown and specified on the drawings.
A | Ceiling mounted frameless recessed speakers, 2 way, 6 inch 100 volts, 20 watts | 16 | Nb. |  | 0
B | Main digital infrared transmitter (up to 4 channels) | 1 | Nb. |  | 0
C | High power digital IR radiator (wide angle coverage) including bracket | 1 | Nb. |  | 0
D | Digital dual receiver wireless set with handheld transmitter including rechargeable battery and charging unit | 1 | Nb. |  | 0
E | Digital dual receiver wireless set with clip transmitter including rechargeable battery and charging unit | 1 | Nb. |  | 0
F | Tabletop telescopic stand with mic clamp | 2 | Nb. |  | 0
G | Digital UHF Wireless set, Desktop transmitter microphones | 4 | Nb. |  | 0
H | Digital interpreter system including 6.8" TFT LCD display, relay function, language interpreter Control, with heavy duty stereo headphones | 2 | Nb. |  | 0
I | Stereo amplifier | 1 | Nb. |  | 0
J | Analog 14 input 4 Bus mixer with USB audio player, Bluetooth, USB audio sound card | 1 | Nb. |  | 0
K | Digital IR receiver with superior reception & LCD status display (up to 4 channels) with stereo headphones | 30 | Nb. |  | 0
L | Installation and Setup including Cabling, audion signals, connectors and all needed connections | 1 | LS |  | 0
IP VIDEO SURVEILLANCE (282300)
Supply, install and connect the following CCTV system including boxes, conduits, cables and all needed accessories as specified, as shown on drawings and to the satisfaction of the Engineer.
System to be interfaced and equipped to be monitored remotely by the Client thru any mobile device.
A | 2 MP High resolution colour CCTV dome (fixed) IP camera, POE with auto iris, vary focal lens & POE, ceiling mounting adapter or wall bracket. | 4 | U |  | 0
B | CCTV Server including full management software and hardware, Network video recorders up to 6 channels with 2TB storage, LCD 32" with PC and IP Joystick; | 1 | U |  | 0
MAIN POWER CONNECTION.
A | Allow for main power connection including the supply and installation of breakers and protections in main building panel, all necessary protection instruments and accessories. | 1 | l.s |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/3 |  |  | 0
|  | Page No. 2/3 |  |  | 0
|  | Page No. 3/3 |  |  | 0
DIVISION 16 - ELECTRICAL
| Carried to Summary |  |  | US$ | 0