## General summary
STRUCTURAL, ARCHITECTURAL WORKS
Index
Total Amount
| Division 1 | General requirements | 0
| Division 2 | Siteworks | 0
| Division 5 | Metals | 0
| Division 6 | Wood and Plastics | 0
| Division 7 | Thermal and moisture protection | 0
| Division 8 | Doors and windows | 0
| Division 9 | Finishes | 0
| Division 10 | Specialties | 0
| Division 13 | Special construction | 0
| Division 15 | Mechanical | 0
| Division 16 | Electrical | 0
TOTAL |  |  | 0
11% VAT |  | VAT EXEMPTED
GRAND TOTAL |  |  | 0

## DIV 01
DIVISION 01
GENERAL REQUIREMENTS
Item | Description | Unit | Qty | Unit | Amount
|  |  |  | Rate | US$
GENERALLY
Tenderers are to comply exactly with the pricing requirement of preliminaries, as presented hereafter
A | These preliminaries are applicable to the whole of the works. If the tenderer wishes to price any of the items contained herein, then each such item, clause or sub clause must be individually priced. The tendered shall not enter any lump sums covering more than one or all items, clauses and sub-clause. Where any item, clause or sub clause is not priced, it shall be deemed that the value is included in the rates for measured items elsewhere in these Schedule of Rates.
B | Tenderer will deemed to have examined the Drawings, the Specifications, to have read the Instructions to Tenderers, the Form of Agreement, the Conditions of Contract, the Form of Tender and to have visited the site and made themselves aware of all conditions including the supply of labor and materials, and are to allow in their tender for all costs, expenses, risks, liabilities and obligations set forth in or implied by the documents and drawings, and their tender price shall be deemed to include for supplying, installing, constructing, completing and maintaining the works in accordance with the terms of the Contract.
DESCRIPTIONS
C | The descriptions included in these Schedule of Rates to describe the workmanship and materials necessary for each items are not necessarily complete. The Tenderer is referred to the Conditions of Contract, Technical Specifications, other Documents and the Drawings, for further information concerning the work. No claim or variation will be considered on account of his failure to acquaint himself with such information.
DESCRIPTIONS (CONT'D)
A | The tenderer shall satisfy himself as to the meaning of every item in the Schedule of Rates and the prices inserted by him will be deemed to cover all his obligations under the Contract and all matters and things necessary for the proper construction, completion and remedying of any defects including, but not by way of limitation, for all temporary works required (including any that may be required by sub-contractors, whether nominated or otherwise).
The price shall include for all materials, furniture, fixtures and labor and for the provision and use of all plants (whether mechanical or non-mechanical ) required for the
expeditious carrying out of the works in their proper sequence, including for shifting, altering and adapting such temporary work and plant as may be required during the progress of the works, and removing on completion and making good any surfaces disturbed; and if not included in a price inserted against the Conditions of Contract clause following, for the guarantees and bonds required for the costs of preparing a tender, for the work in connection with measurements and final account, for profit, and for all establishment charges and on costs of whatever nature. No claim for additional payment will be allowed for any error or misunderstanding by the Tenderer in these aspects.
B | The tenderer shall price all items for all sections which he considers have a value. If any item are not proceed by the Tenderer, they will be deemed to be of no value or that their value has been spread throughout the rates of the other items.
CONDITIONS OF CONTRACT
C | The conditions of contract shall be as contained within the Tender Documents. The tenderer shall allow for all costs of complying with the Conditions of Contract.
SCHEDULE OF RATES
A | The rates for all work are to include for all cutting (straight, raking or curved) as necessary
B | Earthworks is to include for earthwork support and dewatering
C | Earthworks shall include for excavating in rock, unstable ground, existing Note materials and obstructions, cavity probing, below water level or any other condition
D | Earthworks shall include for the levelling and compacting bottoms and for Note keeping excavations free from water and treating the surface with anti-termite control
E | Filling shall include for campacting in layers and grading to contours
F | Concrete work shall include for all formworks
G | Concrete work shall include for all fair faced finish formwork
H | Reinforced concrete work shall include for all reinforcement
I | Masonry work is to include for faced or fair faced work as necessary
GENERAL REQUIREMENTS
A | Coordination & Management: Project coordination, meetings, scheduling, interfacing with all trades and stakeholders. | LS | 1 |  | 0
B | Submittals & Documentation: Material submittals, method statements, reports, progress report, etc. | LS | 1 |  | 0
C | Shopdrawings, detailed drawings, calculation notes (where required), etc. | LS | 1 |  | 0
D | Testing, Commissioning & Handover: All required execution and completion testing including soil, concrete, material and MEP tests, commissioning of all systems, cleaning, O&M manuals, warranties, authority approvals, and contract closeout. | LS | 1 |  | 0
E | As-built drawings: Preparation and submission of complete final as-built drawings for all disciplines, including all revisions required to reflect actual site conditions and executed works, in approved hard copy and digital formats. | LS | 1 |  | 0
F | Insurance: The rate shall include the cost of providing all required insurances in accordance with the Contract Documents in general, Bid Conditions and Procedures, and Conditions of Contract in particular | LS | 1 |  | 0
G | Incidental & Unmeasured Works: Any works, materials, or obligations not separately measured but required for completion in accordance with the Tender Documents. | LS | 1 |  | 0
|  |  | To Collection $ |  | 0
|  | Page No. 2 |  |  | 0
DIVISION 01 - GENERAL REQUIREMENTS
| Carried to Summary |  |  | US$ | 0

## Div 2
DIVISION 2 - SITEWORK
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
The contractor is referred to the specifications and drawings for all details related to this section of the works and he is to include for complying with all the requirements contained therein, whether or not they are specifically mentioned whithin the items description.
The contractor shall provide all equipments, workmanship, and execute the required works to the satisfaction of the Supervisor. Contractor shall protect all parts of the site to remain intact during siteworks, demolition and disposal of debris and shall ensure minimal noise and dust levels through approved protective measures. Contractor shall ensure safety of occupants, workers, third parties, etc. during all works. Contractor shall submit engineered demolition method statement for Supervisor Approval.
DEMOLITION (02060)
Engineered demolition of masonry and concrete wall parts. Remove the demolished materials to approved dumps as directed by the Engineer. Propping where necessary and careful removal of the existing tiling, wood doors, steel items, all kinds of piping and wiring and preparing surface to receive finishes/concrete as directed by the Supervisor, as shown on drawings. All removed materials, steel, ACs, equipments, sanitary fixtures, electrical fixtures, etc. belong to the center
A | Demolition and removal of false ceiling at corridors | 1 | ls |  | 0
B | Removal of existing AC machines above false ceiling and related compressors | 1 | ls |  | 0
C | Removal of existing steel doors and steel rolling shutters, at main façade | 4 | Pc |  | 0
D | Removal of existing steel doors at kitchen & electrical room | 2 | Pc |  | 0
E | Removal of existing aluminum sliding doors with steel tubes, for replacement | 3 | Pc |  | 0
F | Dismantling and removal of old electrical pipes, cables and electrical fixtures, in walls and ceiling, and where needed | 1 | lp |  | 0
G | Dismantling and disposal of all existing sanitary fixtures and pipes in toilets and kitchen | 1 | lp |  | 0
H | Dismantling and disposal of existing old sanitary pipes in ceiling and walls in offices area | 1 | lp |  | 0
I | Demolition and removal of existing walls tiling in toilets and kitchen | 1 | lp |  | 0
J | Demolition and removal of existing floor tiling in all rooms and balconies | 205 | m2 |  | 0
K | Removal of existing wood doors for replacement | 10 | Pc |  | 0
L | Removal of existing steel handrails at balcony, only from the secondary façade, for new aluminum installation | 1 | ls |  | 0
M | Demolition and removal of existing granite top and sink in kitchen | 1 | ls |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 2 - SITEWORK
| Carried to Summary |  |  | US$ | 0

## Div 5
DIVISION 5 - METALS
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
HANDRAILS AND RAILINGS (05520)
Supply and Install steel Balustrades and Handrails complete including supports, anchors, bolts, welded to flat bars, floor/wall plates, and all necessary fixing accessories; all as described in the specifications, and as approved by the engineer
A | Supply and install Guardrail and Handrail for the separation at balcony, main entrance façade, at ground floor entrance, to be installed to the floor. Design and details to be same as existing one | 1.5 | lm |  | 0
STEEL HANDRAIL REFURBISHMENT
Complete refurbishment of existing steel handrail and guardrail at balocny, main entrance , including part replacement, leveling and accessories, scrubbing and site brush oil-based painting.
A | Existing steel handrail and guardrail, at main façade balcony | 17 | lm |  | 0
STRUCTUAL STEEL WITH METAL CLADDING (05121)
Section includes structural steel. Steel rectangular hollow beam and steel columns, including anti corrosive paint and steel painting, installation, steel plates for end closure, welding, fixing to concrete floor and concrete walls and ceilings, all necessary fixing accessories, down spouts, and any necessary preparatoty works; as shown on drawings A-102 and A-602, A-603
The contractor shall be fully responsible for the execution of this structural element, its proper fixing within the walls, and adherence to the approved structural shopdrawings and details
A | Steel rectangular hollow beam 150x100x2.5 mm, for the installation of the Aluminum doors, as shown on drawings A-602 & A-603: - To be fixed to existing concrete columns, at the main facade elevations; - All beams to be firmly fixed and anchored into structural walls to ensure adequate support; | 12 | lm |  | 0
B | Steel rectangular hollow beam 150x100x2.5 mm, for the installation of the Aluminum doors, as shown on drawings A-602 & A-603: - To be fixed to the new steel columns, at the secondary facade elevations; - All beams to be firmly fixed, welded and anchored into the new steel columns | 10 | lm |  | 0
C | Steel rectangular hollow section (SHS) 150x150x2.5 mm, for the new steel columns, as shown on drawings A-602 & A-603: - To be fixed to the concrete parapet and ceilings; - To be fixed including base plates, anchor bolts, welding, etc. | 10 | lm |  | 0
D | Steel rectangular hollow beam 50x50x2.5 mm, for the installation of the suspended 85" TV in meeting room, as shown on drawings A-102: - To be fixed to the concrete ceiling; - All tubes to be firmly fixed, welded and anchored into the ceiling, to form a strong supporting structure for the suspended TV | 10 | lm |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 5 - METALS
| Carried to Summary |  |  | US$ | 0

## Div 6
DIVISION 6 - WOOD AND PLASTICS
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
CUSTOM CABINETS (06410)
The contractor shall provide all equipments, workmanship, and execute the required works to the satisfaction of the Engineer.
Wood closets, doors in 18mm Lamaika (Water resistant) with 1.3 PVC edge banding, shelves in 18mm Lamaika (Water resistant) with 1.3 PVC edge banding, and back in 18mm Lamaika (Water resistant), including lipping, partitions, shelves, drawers, rails, rods, hangers, shims, supports, base, closet hardware and all necessary accessories as specified, as per schedules and as detailed on drawings A-102.
A | Cabinet CK1, Overall 1200 mm long x 900 mm wide x 600 mm Depth, in kitchen (under granite counter) | 1 | Nb |  | 0
B | Cabinet CK1-a, Overall 1200 mm long x 110 mm wide x 350 mm Depth, in kitchen (above granite counter) | 1 | Nb |  | 0
C | Cabinet CK2, Overall 900 mm long x 900 mm wide x 600 mm Depth, in kitchen (under granite counter) | 1 | Nb |  | 0
D | Cabinet CK2-a, Overall 900 mm long x 110 mm wide x 350 mm Depth, in kitchen (above granite counter) | 1 | Nb |  | 0
SECTION 06415 - COUNTERTOPS
Supply and install granite countertop as per drawings A-102
A | Granite counter top "NERO ASSOLUTO OR SIMILAR" in kitchen, as shown on drawings A-102, 2cm thickness, including installation, granite sink, L-shape overall dim. (1200+90) x 600mm | 2.2 | lm |  | 0
A | Granite backsplash "NERO ASSOLUTO OR SIMILAR" in kitchen, as shown on drawings A-102, 2cm thickness, including installation, L shape dim. 1200x600mm + 900x600mm | 2.2 | lm |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 6 - WOOD AND PLASTICS
| Carried to Summary |  |  | US$ | 0

## Div 7
DIVISION 7 - THERMAL AND MOISTURE PROTECTION
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
COLD FLUID-APPLIED WATERPROOFING (07140)
Apply single-component, polyurethane waterproof coating anti-root (white color), 1.5Kg/m2,UV resistance, including surface preparation, primer compatible with PU waterproof, geotextile protection in WCs & reinforcement scrim at edges and special details; as specified and as shown on drawings. (screed in other section). Fluid, cold applied and quick setting elastomeric membrane waterproofing and surface dusting and protective covering. ASTM D412, ASTM D624, and ASTM D429. This section includes 5 years of warranty on all waterproofing works
A | To floors in wet areas - WCs and showers (including geotextile), in toilets | 6 | m² |  | 0
B | To perimeter of ditto, average 215mm high | 14 | l.m |  | 0
MINERAL WOOL INSULATION (072100)
Supply, Install and finish Semi Rigid Stonewool insulation board, cohesive, elastic, non-hygroscopic and water-repellent, formed in boards. material and finish including backing and supporting frames and accessories; as specified and shown on drawings Classified as mineral wool product for use in building insulation, according to the European Standard EN 13162 (MW - Mineral Wool insulation products)
Supply and install Thermal-acoustic-fire insulation board- Rockwool, to all cement boards walls partitions. Fire resistance, sound absorption and sound reduction Density- kg/m3: 75 EN STANDARD: EN 1602
A | To all cement boards walls | 47 | m² |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 7 - THERMAL AND MOISTURE PROTECTION
| Carried to Summary |  |  | US$ | 0

## Div 8
DIVISION 8 - DOORS AND WINDOWS
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
STEEL GATE (08114)
Steel gate including painting, installation, steel plates, welding, hardware, all necessary fixing accessories and any necessary preparatoty works; Steel gate painting, including surface preparation, cleaning, sanding, one coat anti-corrosion primer, and two coats polyurethane (PU) paint finish, applied to achieve a uniform appearance, complete as specified, as shown on drawings A-602
A | DS01, Steel gate entrance door, overall size 3250 mm wide x 3100 mm high, double leaf door | 2 | Nb |  | 0
B | DS02, Steel gate entrance door, overall size 3500 mm wide x 3100 mm high, double leaf door | 1 | Nb |  | 0
C | DS03, Steel gate entrance door, overall size 1700 mm wide x 3100 mm high, single leaf door | 1 | Nb |  | 0
D | DS04, Steel gate entrance door, overall size 1300 mm wide x 3100 mm high, single leaf door | 1 | Nb |  | 0
WOOD DOORS (08210)
Wood doors, panel 45mm thick, including Frake solid wooden frame & subframe with walnut veneer, Frake solid wooden architrave with walnut veneer, 45mm wooden leaf composed by 27mm tubular core, 8mm MDF with walnut veneer from both sides, SS handle, shop spray-applied clear matte polyurethane (PU) finish, including sanding between coats and all preparatory works, installation of door hardware and all necessary fixing accessories and door hardware; as specified and as per schedules and details on drawings A-102 & A-601
A | DW01, overall size 950 mm wide x 2200 mm high, net opening 850 mm wide x 2200 mm high, single leaf door, as shown on drawing A-601 | 8 | nb |  | 0
B | DW03, overall size 1250 mm wide x 2200 mm high, net opening 1150 mm wide x 2200 mm high, single leaf door, as shown on drawing A-601 | 1 | nb |  | 0
Wood doors, panel 45 mm thick, including Frake solid wooden frame & subframe, Frake solid wooden architrave, 45 mm wooden leaf composed of 27 mm tubular core, 8 mm painted MDF from both sides, shop spray-applied polyurethane (PU) paint finish, including primer, putty, sanding between coats, and all necessary preparatory works, SS handle, installation of door hardware and all necessary fixing accessories, as specified and as per schedules and details on drawings A-102, A-601
A | DW02, overall size 850 mm wide x 2200 mm high, net opening 750 mm wide x 2200 mm high, single leaf door, as shown on drawing A-601 | 4 | nb |  | 0
ALUMINUM WORKS (08520)
Anodized satin-finished aluminum doors and windows using SIDEM 2000 series profiles or approved equivalent, complete with frames, sub-frames, mullions, transoms, extruded members, channels, angles, insulated glazing, rubber gaskets, silicone sealant, stainless steel SS316 hardware, anchors, rollers, cover joints where required, and all necessary accessories and fixing systems; complete as shown on drawings and schedules. Glass thickness to be verified by Contractor according to structural, seismic, and wind load requirements; as specified, as shown on drawings and as per schedules Aluminum Doors/Windows: Fabricate window assemblies in accordance with AAMA 101 for types of windows required and equivalent for doors. Insulated Glass: Fabricate insulated glass units in accordance with GANA (formerly FGMA) Glazing Manual. Safety Glass: Conform to ANSI Z97.1 and applicable codes. Extruded Aluminum: ASTM B221M; 6063 alloy, T5 temper. Sheet Aluminum: ASTM B209M; 5005 alloy, H15 or H34 temper. Fasteners, Anchors and Rollers SS 316. Finish Coatings: Conform to AAMA 2603, AAMA 2604 or 2605 and/or AAMA 611.
A | DA-01, sliding aluminum door, including fixed part, 8mm/8mm/8mm tempered double glass, overall dim. 3250x2900 mm, as shown on drawing and schedule of windows A-602 | 2 | Nb |  | 0
B | DA-02, sliding aluminum door, including fixed part, 8mm/8mm/8mm tempered double glass, overall dim. 3500x2900 mm, as shown on drawing and schedule of windows A-602 | 1 | Nb |  | 0
C | DA-03, sliding aluminum door, including fixed part, 8mm/8mm/8mm tempered double glass, overall dim. 1700x2900 mm, as shown on drawing and schedule of windows A-602 | 1 | Nb |  | 0
D | DA-04, sliding aluminum door, including fixed part, 8mm/8mm/8mm tempered double glass, overall dim. 3000x2600 mm, as shown on drawing and schedule of windows A-603 | 2 | Nb |  | 0
E | DA-05, sliding aluminum door, including fixed part, 8mm/8mm/8mm tempered double glass, overall dim. 3500x2600 mm, as shown on drawing and schedule of windows A-603 | 1 | Nb |  | 0
F | DA-06, sliding aluminum door, including fixed part, 6mm/6mm/6mm tempered double glass, overall dim. 1300x2900 mm, as shown on drawing and schedule of windows A-603 | 2 | Nb |  | 0
g | WA-01, Hinged aluminum windows, simple glass, overall dim. 700x400 mm, to be installed in toilets | 2 | Nb |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 8 - DOORS AND WINDOWS
| Carried to Summary |  |  | US$ | 0

## Div 9
DIVISION 9 - FINISHES
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
SUSPENDED CEILING SYSTEM (09130)
15.9mm thick gypsum board suspended ceiling, including suspension system and all necessary fixing accessories, including two access traps 40x40cm (where needed); as specified and per schedule of finishes (painting measured separately) and as shown on drawing AF102 . Acoustic tiles of size, color, finish, pattern and texture as shown in drawings or as instructed by Supervisor, manufactured by an approved manufacturer. The suspension system shall consist of angle hangers or suspension wires, primary suspension channels and main runners, with all necessary clips. The main runners shall be of the split ‘T’ type to give a fully concealed fixing system. Suspension systems shall generally be of hot dip galvanized steel members comprising all hangers, runners, trimmers, bearers, clips, tie wires, bolts and screws necessary to install the ceilings rigidly and to a true and level finish. The use of timber is to be avoided. Finish coating color shall be as instructed by Supervisor. In places of particularly high humidity (80 deg. humidity), the members of the suspension system shall be aluminum alloy instead of steel. Tying Wire: All tying wire shall be galvanized soft wire confirming with BS 443 or equivalent and shall be 1.2mm (for securing expanded metal) and 3mm (for securing ceiling runners to bearer channel.
A | Gypsum board Suspended Ceiling in conference/meeting room as shown on drawing A-702 | 15 | m² |  | 0
B | Vertical bulkhead at perimeters for curtain and for indirect lighting cornice, in conference room as shown on drawing A-702 | 20 | lm |  | 0
C | 9 mm thick. gypsum board suspended ceiling tiles, 600×600 mm, factory pre-painted, laid on exposed metal T-grid suspension system, including suspension system, all necessary fixing accessories; complete as specified and per schedule of finishes, and as shown on drawings A-702 | 15 | m² |  | 0
Suspended Ceiling system, PVC panel 20xLcm, including installation, suspension system and all necessary fixing accessories; as specified, per schedule of finishes and as shown on drawingsA-703 & A-704, Except for PVC panels, all specification are as above.
A | Suspended Ceiling, PVC panel board, in WCs | 6 | m² |  | 0
PORTLAND CEMENT PLASTER (09220)
Cement and sand internal plastering 15mm thick, including lath, plaster stops and all necessary accessories; as specified and as per schedule of finishes in drawing (Including any necessary preparatory work for substrate). Perform Work in accordance with ASTM C926 and PCA Portland Cement Plaster (Stucco) Manual. Cement: ASTM C150, Type I Portland cement. Bonding Agent: ASTM C932; type recommended for bonding plaster to concrete and concrete masonry surfaces. Fibers: 13 mm nominal length glass fibers meeting requirements of ASTM C1116.
A | Plater repair to internal ceiling/walls where needed after electrical cabling, cracks repair where needed, to all walls | 1 | lp |  | 0
CEMENT BOARD (09280)
Prepare, set-up, install and finish standard Cement Board in two layer using 12 mm cement panels fixed to walls and floor, including reinforcement for windows and doors fixation and installation, including substrate preparation, fastening methods, and joint treatment, painting, as specified and as shown on drawing A-102
A | To internal walls at 310 cm from F.F.L, full height | 47 | m² |  | 0
|  |  | To Collection US$ |  | 0
TILE (09300)
Ceramic tiles fixed to plaster with adhesive, or fixed to floor tiles or floor concrete including grouting and pointing (as per site requirements); as specified, as per schedule of finishes and as shown on drawings. Perform Work in accordance with TCA Handbook and ANSI A108 Series/A118 Series. Supply 3.5 Sq. meters (or two boxes, whichever is higher) of each type of tile furnished (excluding treads and risers). Ceramic and Mosaic Tile: ANSI A137.1, and conforming to the following: 1. Moisture Absorption: 0 to 0.5 percent. 2. Size: As indicated on drawings. 3. Shape: Square and/or Rectangular, as indicated on drawings. 4. Edge: Square and/or Cushioned, as indicated on drawings. 5. Surface Finish: Unglazed, Matte glazed, Mottle glazed, and/or Slip resistant, as indicated on drawings. 6. Color: As selected by Supervisor. 7. Mounted Sheet Size: As indicated on drawings.
Ceramic Wall Tile: ANSI A137.1, and conforming to the following: 1. Moisture Absorption: 0 to 0.5 percent. 2. Size: As indicated on drawings. 3. Shape: Square and/or Rectangular, as indicated on drawings. 4. Edge: Square and/or Cushioned, as indicated on drawings. 5. Surface Finish: Unglazed, Matte glazed, and/or Mottle glazed, as indicated on drawings. 6. Color: As selected by Supervisor. 7. Pattern: As indicated on drawings.
A | Mass ceramic or Gres Ceram to floors, 60x60 cm, in all rooms and balconies, except toilets | 200 | m² |  | 0
B | Ditto, to skirting 8 cm high | 131 | l.m. |  | 0
C | Mass ceramic or Gres Ceram to walls, 30x60 cm in Kitchen F1-34 | 26 | m² |  | 0
D | Anti slippery European heavy duty ceramic to floors, 30x60 cm in WCs | 6 | m² |  | 0
E | Mass ceramic or Gres Ceram to walls, 30x60 cm in WCs | 31 | m² |  | 0
H | Thresholds in various widths, minimum 30mm. Stone floor tiles including cement and sand mortar, finish as indicated and grouting; as specified and per schedule of finishes and as shown on drawings. | 4 | l.m. |  | 0
PAINTS AND COATING (09900)
Prepare and apply 1 coat of primer sealer (latex or alkyd), 2 coats of washable latex or alkyd as specified and as shown on drawings, including any necessary preparatory work for substrate, surface preparation, making good of substrate, putty application as required, sanding between coats, and all incidental works, complete.
A | To internal walls and columns in all rooms | 400 | m² |  | 0
B | To internal gypsum false ceiling in conference rooms and all concrete ceilings in rooms | 190 | m² |  | 0
EXTERIOR PAINT
• Inspect and prepare all surfaces; clean, repair cracks, remove loose paint, and make good defective plaster. • Apply one coat of compatible acrylic primer to all prepared surfaces. • Apply 2 coats of 100% pure acrylic crack-bridging exterior coating, allowing proper drying time between coats. • Apply 1 finishing coat by roller (roulo) to achieve uniform appearance and improved aesthetics. • All materials to be compatible and from the same approved manufacturer; application to comply with manufacturer’s recommendations.
A | To external walls and columns at balcony | 11 | m² |  | 0
B | To external ceiling and parapet at balcony, this includes all balcony ceiling at ground floor entrance | 50 | m² |  | 0
C | To external parapet under balcony, including cracks repair | 20 | lm |  | 0
EXTERIOR STONE CLADDING
A | Replacement of damaged stone coping, at secondary balcony parapet. Stone to be same as existing one | 12 | lm |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/2 |  |  | 0
|  | Page No. 2/2 |  |  | 0
DIVISION 9 - FINISHES
| Carried to Summary |  |  | US$ | 0

## Div 10
DIVISION 10 - SPECIALTIES
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
SIGNAGE (10440)
A | Supply & Apply signage, Aluminum plates with beveled edges and vinyl cover text, chrome mounting accessories; design and manufacturing to be approved by Supervisor. Dim. 30x10 cm, to all rooms | 12 | Nb. |  | 0
B | Supply & Apply signage, Aluminum plates with beveled edges and vinyl cover text, chrome mounting accessories; design and manufacturing to be approved by Supervisor. Dim. 100x40 cm, at main entrance | 1 | Nb. |  | 0
FIRST FLOOR
A | Supply & Apply signage, Aluminum plates with beveled edges and vinyl cover text, chrome mounting accessories; design and manufacturing to be approved by Supervisor. Dim. 30x10 cm, for all rooms | 4 | Nb. |  | 0
FIRE EXTINGUISHER (10522)
Portable Hand-held Fire Extinguisher fully supplied and installed. 6Kg nominal capacity, compatible with gas and electric based fires in manufacturer's standard enameled container.
A | Portable dry powder fire extinguisher 6 Kg capacity fixed to wall | 2 | Nb. |  | 0
B | CO2 portable fire extinguisher 5 Kg capacity fixed to wall | 2 | Nb. |  | 0
TOILET, BATH AND LAUNDRY ACCESSORIES (10800)
Toilet and bath accessories, including all necessary fixing accessories; as specified and as per schedules. All support hinges, hooks, bars and rings shall be made of SS 316.
A | Soap holder | 2 | Nb |  | 0
B | Paper holder | 2 | Nb |  | 0
C | Toilet Paper holder | 2 | Nb |  | 0
D | Toilet brush with holder | 2 | Nb |  | 0
E | Plastic garbage bins Diam. 30 x H.40 cm | 2 | Nb |  | 0
G | MIRRORS (10800)
6mm thick polished plate glass mirror with 30 mm wood frame fixed to wall, including supports and all necessary accessories; as specified
A | Mirror overall dim. 650x650 mm in WC | 2 | Nb |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/1 |  |  | 0
DIVISION 10 - SPECIALTIES
| Carried to Summary |  |  | US$ | 0

## Div 13
DIVISION 13 - SPECIAL CONSTRUCTION
Item | Description | Qty | Unit | Material | Labor | Equip. | Sub. | Raw Cost | OH & Profit | Unit Rate US$ | Amount US$
VIDEO SURVEILLANCE (13700)
Supply, install and test the following equipments, PC, display screen, etc. TV sets, etc. supplied and installed by a specialized subcontractor (minimum 10 years of experience) and using products (ISO 9001 certified) as specified below and as shown in drawings
A | Interactive Smart Display 86" for Conference / Meeting Room: ISO 9001 certified product; wall or ceiling-mounted type complete with all mounting accessories and assembly; UHD 4K LED interactive display, minimum resolution 3840 × 2160; minimum screen size 86"; infrared or capacitive multi-touch technology supporting writing and annotation; integrated Android operating system; built-in Wi-Fi, Bluetooth, and screen sharing capability; minimum 3 HDMI ports, 2 USB ports, 1 LAN (Ethernet) port, and audio output; built-in speakers; anti-glare tempered glass surface; compatible with Windows and Android systems; complete with wireless stylus pens, HDMI cables, power cables, surge protector, and all required accessories for proper operation. Warranty: minimum 3-year on-site parts and labor. (Samsung, LG, BenQ, ViewSonic, MAXHUB, Hikvision, or equivalent approved). | 1 | Nb | [7 empty] | 0
EQUIPMENT
B | PBX Technical Specifications IP-based or hybrid PBX system suitable for small to medium office applications. -minimum 4 outside (CO) lines,minimum 12 extensions, with capability for future expansion up to 20 extensions without replacement of the main control unit. The system shall support the following basic functions: -call transfer,call forwarding,call hold,conference calls,speed dialing,caller ID,extension-to-extension communication. The system shall allow connection of: IP telephone sets,analog telephone sets,and softphone applications where applicable. The system shall support voicemail and auto-attendant capability for future integration. The PBX shall permit flexible extension numbering schemes. Music on hold shall be provided through internal tone or external audio source. Basic call restriction and user access control functions shall be supported. Secretary station shall include attendant console features for call handling and transfer. The complete system shall include all necessary: licenses,power supplies,interface modules,mounting accessories,terminations, and all required accessories for proper operation. The contractor shall provide complete testing, commissioning, programming, and user training for the installed system. | 1 | Nb | [7 empty] | 0
C | Proprietary Telephone station: .Programmable function keys, each of which can be used for single-touch dialling of an internal or external correspondent or one-touch activation of a chosen system facility. .Message waiting LED or LCD. .Full Hands-free facility (built in microphone and speaker) .Internal Caller Identification and external caller identification on external lines. . 10 fully programmable / line feature keys (at least) with LCD or LED indicators . Alphanumeric dial pad. . Hold key and line release capability. . Speaker . Full 2 way hands free operation . Handset / Headset mute . Built in character display . Volume control for handset, hands free. | 1 | Nb | [7 empty] | 0
D | Telephone Set With display: -LCD display; -Caller ID memory; -redial: 5 numbers; -speakerphone; -Ringer and handset volume control; -Line-Powered; -Desk and wall mountable; -Black or White color. | 5 | Nb | [7 empty] | 0
|  |  | To Collection US$ | [7 empty] | 0
COLLECTION
|  | Page No. 1/1 | [8 empty] | 0
DIVISION 13 - SPECIAL CONSTRUCTION
| Carried to Summary | [8 empty] | US$ | 0

## Div 15 MECHANICAL
DIVISION 15 - MECHANICAL
Item | Description |  | Unit | Unit Rate US$ | Amount US$ | Breakdown of Qty
PIPES AND FITTINGS (15060, 15110)
Supply, lay, connect and test the following cold, hot, hot return and potable water pipes including all necessary fixing accessories and fittings complete as specified and shown on drawings A-401, dimensions and quantities as per site measurements
Install and connect to existing pipes for water supply in toilets. All pipes, hot and cold, to be embedded in walls
A | Connect to existing water supply pipes in toilets | 1 | l.s |  | 0
DRAINAGE AND VENT SYSTEMS (15420)
Supply, lay, connect and test the following pipework including all necessary fixing accessories and fittings complete as specified and shown on drawings A-102, dimensions and quantities as per site measurements
Non pressure UPVC pipes according to ASTM D2665
A | 2" diameter | 1 | l.s |  | 0
B | 4" diameter | 1 | l.s |  | 0
Supply, install and test drainage installations including fixing accessories and fittings, complete as specified and shown on drawings A-102. PVC drainage pipes shall be of unplasticized polyvinyl chloride with solvent cemented socket joints and complying with NFT54.028 (EN 1329) for pipes inside the toilets and with rubber ring sealed socket joints and complying with DIN 19534 (EN 1401) for pipes outside the toilets.
A | 3" diameter floor drain, in WCs and kitchen | 3 | Nb. |  | 0
B | 4" diameter junction box | 3 | Nb. |  | 0
PLUMBING FIXTURES (15440)
Supply, Install, connect and test the following sanitary fixtures complete with fittings main supply and accessories as specified and shown on drawings A-102, (Duravit, Armitage Shank, Kohler, Ideal Standard, lecico or approved equivalent)
A | Floor Mounted Water Closets : Vitreous china wash down water closet with close coupled cistern having button operated siphon fully installed (Single-flush tank-type gravity type). Supports and all pipe works and accessories required for installation, connection to water supply and drainage, supports, fixing for satisfactory operation. Toilet seat cover color to match the toilet and Closet. Chromium plated angle valve with clamp ring union and extension piece | 2 | Nb. |  | 0
B | Lavatories or semi-lavatories: Vitreous china wash hand basin with concealed fixing brackets and leg, Length. 45cm, fixed to wall | 1 | Nb. |  | 0
C | Lavatories: Vitreous china wash hand basin with concealed fixing brackets and leg, rectangular washbasin, Length. 50cm, including waterproof wood cabinet, fixed to wall, in toilet GF-05 | 1 | Nb. |  | 0
D | Mixers chrome hot/cold water, with single switch lever fully installed and operational, in toilets | 2 | Nb. |  | 0
E | Mixers chrome hot/cold water, with single switch lever and extractable water sprayer fully installed, in kitchen, as specified | 1 | Nb. |  | 0
|  |  | To Collection US$ |  | 0
SPLIT UNIT (15660)
Supply, Install and Test the Following: Air-conditioning INVERTER TYPE Split Units inclusive of Condensing units, Evaporator Blower, Control and cables, Refrigerant Copper pipes, condensate drain work, etc. complete with all components and accessories, supports as Specified in accordance with ASHRAE Standard 15 "Safety Code for Mechanical Refrigeration" inclusive of 3 year warranty on site, parts and labor. Pre-approved manufacturers include LG (Korea), Gree (China), MDV (China) or equivalent.
Complete installation of split units as shown on drawings M-102 (Drainage to be connected to existing floor drain , copper routing to the balcony and to be checked on site)
A | Wall Type - 12000 Btu (7 m copper pipes length) | 1 | Nb. |  | 0
B | Wall Type - 18000 Btu (15 m copper pipes length) | 4 | Nb. |  | 0
B | Wall Type - 24000 Btu (5 m copper pipes length), in conference rooms | 2 | Nb. |  | 0
C | DN20mm PVC pressure pipe to act as condensate drain | 20 | m |  | 0
CENTRIFUGAL FANS (15851)
A | EAF-WC: 50L/s Axial, in toilets, complete with accessories and connections, installed in toilets. | 2 | Nb. |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/2 |  |  | 0
|  | Page No. 2/2 |  |  | 0
DIVISION 15 - MECHANICAL
| Carried to Summary |  |  | US$ | 0

## Div 16 electrical
DIVISION 16 - ELECTRICAL
Item | Description | Qty | Unit | Unit Rate US$ | Amount US$
WIRING DEVICES (16140)
Supply, install and connect the following wiring devices, complete including wiring/conduiting works back to respective panelboards and all related accessories, as specified and shown on drawings. Pre-approved manufacturers include Tcino (Italy), Gewiss (Italy), or Legrand (France) or equivalent.
All exposed conduits fixed on columns, ceiling and walls, shall be Rigid High Gauge PVC.
A | Wall mounted one way, one gang light switch, rated 10A/250V- | 23 | Nb. |  | 0
B | Wall mounted two way, one gang light switch, rated 10A/250V- | 2 | Nb. |  | 0
C | Wall mounted intermediate, one gang light switch, rated 10A/250V- | 1 | Nb. |  | 0
D | Wall mounted single socket outlet (2P+E), rated 16A/250V - | 3 | Nb. |  | 0
E | Wall mounted double socket outlet (2P+E), rated 16A/250V - | 11 | Nb. |  | 0
F | Wall mounted double socket outlet (2P+E), rated 16A/250V, including integrated USB Type-C charger where indicated on drawings | 15 | Nb. |  | 0
G | Wall mounted double socket outlet (2P+E), weatherproof rated 16A/250V - | 2 | Nb. |  | 0
H | Wall mounted double socket outlet (2P+E), fed from UPS, rated 16A/250V - | 7 | Nb. |  | 0
I | Wall mounted single socket outlet (2P+E), fed from UPS, rated 16A/250V- | 17 | Nb. |  | 0
J | 1PH Electrical Outlet for inverter split unit with disconnect switch IP64, Aluminum Alloy Enclosure, rated in AC23 - 2x16A - | 7 | Nb. |  | 0
K | Floor box, 8 modules pop up, stainless steel finish, waterproof | 1 | Nb. |  | 0
L | Electrical outlet point for toilet exhaust fan | 2 | Nb. |  | 0
LIGHT POINT
Lighting points materials, supplied, installed, connected complete including conduits, conduit accessories and supports, junction, derivation and outlet boxes, conductors, connectors and all related accessories, as specified and shown on drawings EL-102
A | Ceiling and wall light point | 32 | Nb. |  | 0
|  |  | To Collection US$ |  | 0
PANELBOARD (16442)
Supply, install and connect the following panelboards, complete including surge arresters, protective devices, measuring devices, contactors, auxiliaries and all related accessories, as specified and shown on drawings EL-102. Pre-approved manufacturers include Schneider (France), ABB (Switzerland), Legrand (France), Eaton (USA) or equivalent.
A | DB | 1 | Nb. |  | 0
B | UDB | 1 | Nb. |  | 0
POWER CONDUCTORS AND CABLES (16120)
Supply, install and connect the following multi-core unshielded PVC insulated and PVC sheathed cables (Cu/PVC/PVC 0.6/1KV) including glands, cable termination, grounding wires, cable truncking, cable trays, fixing materials, supports and necessary accessories all as specified and as mentioned on the drawings. Pre-approved manufacturers include Libancable (Lebanon) or equivalent.
Cu/PVC/PVC 0.6/1.0kV Cables
A | 4x25+16mm2 | 15 | lm |  | 0
LIGHTING (16500)
Supply, install and connect the following lighting fixtures, complete including control gear, lamps, supports, mounting, brackets and all related accessories, as specified and shown on drawings EL102. Lighting manufacturers to be of the renowned worldwide, compliant to standards, official manufacturer certifications must be achieved and fixtures to be approved by the Architect.
A | Type A: Recessed 60x60 LED panel, IP22, 40W LED lamp. | 13 | No |  | 0
B | Type B: Recessed 60x120 LED panel, IP22, 80W LED lamp. | 9 | No |  | 0
C | Type C: LED Round panel 20cm Lighting fixture, IP22, 18W. | 8 | No |  | 0
D | Indirect Lighting Strip LED, 15W/lm - 4000K. | 13 | lm |  | 0
E | Direct Recessed profile Lighting Strip LED, 15W/lm - 4000K. | 16 | lm |  | 0
F | Self contained wall/ceiling mounted, non-maintained emergency light, 230V 50Hz AC, 220V DC, 5W LED lamp, 3h duration of emergency lighting battery, IP44 | 2 | Nb. |  | 0
G | Self contained wall/ceiling mounted, maintained exit light, cover with silk screen legend, 230V 50Hz AC, 220V DC, 5W LED lamp, 3h duration of emergency lighting battery, IP44 | 3 | Nb. |  | 0
TELECOM SYSTEM (SECTION 16730)
Supply, install and connect complete telecom system including conduits, Cat6 cables, RJ45 outlets, pull boxes, cover plate, supports, rigid and flexible medium gauge PVC conduits, patch panels, switches, surge arrestors and all needed accessories as specified and as shown on drawings.
A | Connection to existing telecom network | 1 | No |  | 0
B | Main Distribution Frame including patch panel 24 ports, switch including patch cords and all needed accessories | 1 | Lp |  | 0
C | RJ45 Telecom Socket outlet with shutter including CAT6 UTP cable to corresponding Patch Panel | 46 | No |  | 0
D | HDMI socket outlet including both sides sockets, cables with appropriate converter for extended length, conduits and boxes. | 1 | No |  | 0
|  |  | To Collection US$ |  | 0
STATIC UNINTERRUPTIBLE POWER SUPPLY SYSTEM (263353)
Supply, install and connect a 1 phase UPS system, frequency variation: 1% maximum, voltage variation in steady state: 1% maximum, THD: 5%, complete with ventilation, 30 minutes autonomy batteries and all needed accessories to insure the full functionality of the UPS as specified and shown on drawings and to the satisfaction of the Engineer.
A | UPS-6kVA | 1 | No |  | 0
AUDIO VISUAL AND BAGROUND MUSIC SYSTEMS (275116)
Supply, install and connect a complete sound system including all required audio/video equipment, wires, conduits and boxes as shown and specified on the drawings.
A | Ceiling mounted recessed speakers | 4 | Nb. |  | 0
B | Receiver Station | 1 | No |  | 0
IP VIDEO SURVEILLANCE (282300)
Supply, install and connect the following CCTV system including boxes, conduits, cables and all needed accessories as specified, as shown on drawings and to the satisfaction of the Engineer.
System to be interfaced and equipped to be monitored remotely by the Client thru any mobile device.
A | 2 MP High resolution colour CCTV dome (fixed) IP camera, POE with auto iris, vary focal lens & POE, ceiling mounting adapter or wall bracket. | 6 | U |  | 0
B | 2 MP High resolution colour CCTV dome (fixed) IP camera, POE with auto iris, vary focal lens & POE, ceiling mounting adapter or wall bracket, weatherproof. | 2 | U |  | 0
C | CCTV Server including full management software and hardware, Network video recorders up to 12 channels with 8TB storage, LCD 32" with PC and IP Joystick; | 1 | U |  | 0
MAIN POWER CONNECTION.
A | Allow for main power connection including the supply and installation of breakers and protections in main building panel, all necessary protection instruments and accessories. | 1 | Lp |  | 0
B | Allow for provisional conduits above false ceiling in corridor to electrical room for future expansion, including boxes, fixations and all needed accessories, minimum 32 mm diameter | 1 | Lp |  | 0
|  |  | To Collection US$ |  | 0
COLLECTION
|  | Page No. 1/3 |  |  | 0
|  | Page No. 2/3 |  |  | 0
|  | Page No. 3/3 |  |  | 0
DIVISION 16 - ELECTRICAL
| Carried to Summary |  |  | US$ | 0